| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 1 |  | SUF500-FCPA | Front Cover Plate Assembly | 1 |  |
| 2 |  | SUF500-Hinge | Hinge | 2 |  |
| 3 |  | SUF10A4.03-00 | Right Upper Door | 1 |  |
| 4 |  | SUF10A4.04-00 | Right Lower Door | 1 |  |
| 5* |  | SUC1000-TRDH-X | Top Right Door Hinge | 1 |  |
| 6* |  | SUC1000-MRDH-X | Middle Right Door Hinge | 1 |  |
| 7* |  | SUC1000-BRDH-X | Bottom Right Door Hinge | 1 |  |
| 8 |  | SUF500-KSS | K-type Seal Strip | 4 |  |
| 9 |  | SUF600-20 | Shelf K Clip | 12 |  |
| 10* |  | SUF5A2.00-01 | Wire Shelf 480mm X 530mm | 3 |  |
| 11 |  |  | Cabinet Body | 1 |  |
| 12* |  | SUF500-23 | Condenser 3R10K320L | 1 |  |
| 13 |  | SUF500-CFB | Condenser Fan Blade | 1 |  |
| 14 |  | SUF500-CFG | Condenser Fan Guard | 1 |  |
| 15* |  | FAN-21 | Condenser Fan Motor Square EBM Style 18W Universal RF513B | 1 |  |
| 16* |  | NEU2178GK | Compressor R404A | 1 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 17 |  | SUF500-PC | Power Cord | 1 |  |
| 18 |  | SUF500-UCP | Upper Cover Plate | 1 |  |
| 19 |  | SUF500-LCP | Lower Cover Plate | 1 |  |
| 20 |  | SUF500-REB | Right Evaporator Baffle | 1 |  |
| 21 |  | SUF500-LEB | Left Evaporator Baffle | 1 |  |
| 22 |  | SUF500-TEF | Top Edge Frame | 1 |  |
| 23 |  | SUF500-PEIC | PE Insulation Cotton | 1 |  |
| 24* |  | SUF500-35 | Evaporator 5R6K320L | 1 |  |
| 25* |  | SUF500-HGD | Hot Gas Defrost Heater/Heating Element | 1 |  |
| 26* |  | SUF500-EFMA | Evaporator Fan Motor Assembly | 1 |  |
| 28 |  | SUF500-EFC | Evaporator Fan Cover | 1 |  |
| 29 |  | SUF500-EWT | Water Tray For Evaporator | 1 |  |
| 30-1 |  | SUF1000-BC-X | Brake Castor | 2 |  |
| 30-2 |  | SUF1000-NC-X | Normal Castor | 2 |  |
|  |  | SUF1000-PH | Pan/Drain Heater |  |  |
|  |  | Drier-1 | DRIER LIQUID LINE DML032S 1/4 SOLDER |  |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
|  |  | SUC-SUF-TCK | Touch Controller Kit |  |  |
|  |  | SUC/SUF-Key | Key & Lock Assembly |  |  |
|  |  | T0324 | AV4R Access Valve 1/4MF SCHRADER x 1/4 TAIL |  |  |
|  |  | SUC1000-DG-X | Door Gasket 690mm by 540mm |  |  |

*Wearable parts