| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  | Cabinet Assembly | 1 |  |
| 2 |  | F.300.004.248HC-005 | Ducting Board Bracket B | 1 |  |
| 3* |  | M.200.002.SDQ-SAD12038B12L-02/2 | Evaporator Fan DC 12V 0.27A SAD12038B12L | 1 |  |
| 4 |  | F.203.001.208HA-001 | Fan Board | 1 |  |
| 5 |  | T.403.005.338FA-001 | Evaporator Fan Cover | 1 |  |
| 6 |  | M.5L1.003.208HA-029 | Dc Motor Connection Cable | 1 |  |
| 7 | Version 1 | F.300.004.208HC-001-B | Support for Air Duct Board（Left） | 1 | Interchangeable |
|  | Version 2 | F.300.004.208HC-013-B | Support for Air Duct Board（Left） | 1 | Interchangeable |
| 8 | Version 1 | F.300.004.208HC-002-B | Support for Air Duct Board（Right） | 1 | Interchangeable |
|  | Version 2 | F.300.004.208HC-014-B | Support for Air Duct Board（Right） | 1 | Interchangeable |
| 9 | Version 1 | F.300.003.208HC-006 | Ducting Board | 1 | Interchangeable |
|  | Version 2 | F.300.003.208HC-017 | Ducting Board | 1 | Interchangeable |
| 10 | Version 1 | F.300.002.208HC-006-B | Support Panel for K-support | 1 | Interchangeable |
|  | Version 2 | F.300.002.208HC-014-B | Support Panel for K-support | 1 | Interchangeable |
| 11* | Version 1 | LG-208SC-41 | Evaporator N.15B.002.208HA-003 | 1 | Interchangeable |
|  | Version 2 | N.15B.002.208HA-008 | Evaporator | 1 | Interchangeable |
| 12 |  | T.202.001B.208HC-334-02 | Support Panel for K-support | 8 |  |
| 13 |  | LG-1000E-17-New | New Smaller Shelf K Clip T.204.002.1000WBA-007 | 16 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 14* | Version 1 | P.107.002.208HA-008 | Left/Right Shelf | 4 | Interchangeable |
|  | Version 2 | LG330H-43 | Left/Right Shelf 345mm X 400mm P.107.208H-001 | 4 | Interchangeable |
| 15 | Version 1 | C.03.002X.208HC-002A-HZ | Middle Pole Assembly | 1 | Non-Interchangeable |
|  | Version 2 | C.03.002X.208HC-011-HZ | Middle Pole Assembly | 1 | Non-Interchangeable |
| 16 | Version 1 | F.103.004.208HA-005 | Support Panel for Middle Pole Assembly | 2 | Interchangeable |
|  | Version 2 | F.103.004.208HA-007 | Support Panel for Middle Pole Assembly | 2 | Interchangeable |
| 17 |  | DZ.501.003.208HA-818-03 | Lamp Cover | 1 |  |
| 18* | Version 1 | LG-208HC-Light | Light M.305.004.700-2835-30-01-B-EL | 1 | Interchangeable |
|  | Version 2 | M.305.004.700-2835-30-01-B-SM | LED Light | 1 | Interchangeable |
| 19* |  | C.07.208SC-001-H | Sliding Door Channel Assembly | 1 |  |
| 20 |  | DZ.708.010.330SA-002 | Sliding Door Anti-Collision Block | 2 |  |
| 21* |  | DZ.708.001.208SC-710-H | Sliding Door Frame Channel Seal | 2 |  |
| 22 |  | T.402.008.208SB-001-B | Counterweight Block | 2 |  |
| 23* |  | T.207.004.208SC-001 | Sliding Door Guide Wheel | 2 |  |
| 24* |  | DM.706.003.MT-5*10-H | Sealing Wool Pile 5*10 | 4 |  |
| 25* |  | DM.706.003.MT-5*5-H | Sealing Wool Pile 5*5 | 4 |  |
| 26* |  | C.02.005.208SC-01L-H-FB | Glass Door Assembly Left | 1 |  |
| 27 |  | T.205.005 | Nylon Rope | 2 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 28* |  | C.02.005.208SC-01R-H-FB | Glass Door Assembly Right | 1 |  |
| 29* |  | T.402.001.208SA-001 | Key & Lock | 1 |  |
| 30* |  | E.402.208S-003 | Door Bottom Sliding Wheel | 4 |  |
| 31 |  | F.300.001.208SA-001 | Guide Rail | 2 |  |
| 32 | Version 1 | F.207.001.208SA-006-HZ | Front grill | 1 | Interchangeable |
|  | Version 2 | F.207.001.208SA-015-HZ | Front grill | 1 | Interchangeable |
| 33 |  | T.403.010.208HA-011 | Strength metal for ventilation cover | 1 |  |
| 34 |  | DZ.708.008.208HA-007 | Protective Cover | 1 |  |
| 35* |  | M.302.001.208HA-003 | Power switch (Red) | 1 |  |
| 36* |  | LG138H-3 | Light Switch (Green) M.302.001.208HA-004 | 1 |  |
| 37* | Version 1 | LG138H-18 | Digital Thermostat Carel RCBHS1H0E1K | 1 | SN From 20151201001 to 20210730012 |
|  | Version 2 | M.401.002.ECS-16-01 | Digital Thermostat | 1 | SN From 20210901001 |
| 38 |  | DZ.708.008.208HA-005-H | LED Display Controller Cover | 1 |  |
| 39 |  | DZ.708.008.208HA-006-H | Temperature Gauge Board Assembly | 1 |  |
| 40 |  | M.401.002.ECS-16-2500 | Temperature Probe Wire | 1 |  |
| 41 |  | M.5L2.001.360FA-009 | Connect Wire for Compressor | 1 |  |
| 42 |  | M.5L2.003.208HA-059 | Connect Wire for Digital Thermostat | 1 |  |
| 43 |  | F.201.001.208HA-013 | Compressor Supporter | 1 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 44* | Version 1 | EMT75HLP | Compressor R134a | 1 | SN From 20151201001 to 20210121018 |
|  | Version 2 | PZ99H1X | Compressor R600a M.10P.PZ99H1X | 1 | SN From 20210301001 |
| 45 |  | DZ.708.003.660WA-001 | Water Tray | 1 |  |
| 46 |  | N.300.002.208HA-009 | Venting Tube | 1 |  |
| 47 |  | T.403.003.208HA-003 | Condenser Bracket | 1 |  |
| 48* |  | M.200.001.208HA-009/2 | Condenser Motor | 1 |  |
| 49 |  | T.403.005.660WA-002 | Fan Blade | 1 |  |
| 50 |  | DZ.708.010.1000WBA-004-H | Dry Filter Clip | 1 |  |
| 51 |  | LG-208HC-2 | Dry Filter N.101.228FA-001 | 1 |  |
| 52* |  | N.20C.208HA-007 | Condenser | 1 |  |
| 53 |  | N.300.004.138HC-001 | Evaporator Pipe | 1 |  |
| 54 | Version 1 | N.300.228FA-005 | Process Pipeline | 1 | Interchangeable |
|  | Version 2 | N.300.003.208HA-001 | Process Pipeline | 1 | Interchangeable |
| 55 |  | F.202.001.208HA-008 | Electronic Supporting Plate | 1 |  |
| 56 |  | DZ.708.005.660WA-001/2 | Connecting Box | 1 |  |
| 57* |  | M.405.001.HS-EVS-A120150N-A0C-W1 | 12V Power Supply(18W) | 1 |  |
| 58 |  | LG208H-Legs | Adjustable Leg DZ.708.004.208HA-002-H | 4 |  |

*Wearable parts

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 59 | Version 1 | LG-208HC-RP | Rear Panel F.208.001.208HA-006 | 1 | Interchangeable |
|  | Version 2 | F.208.001.208HA-013 | Rear Panel | 1 | Interchangeable |
| 60 |  | T.203.001.001 | Cable grommet | 1 |  |
| 61 |  | M.600.E3-075-2200-H | Power Cord 10A 0.75mm² 2200mm Fork Terminal | 1 |  |
| 62 |  | DZ.708.004.BJ9A-001-H | Space feet from wall | 2 |  |