LG-330TD EXPLODED DIAGRAM

LG-330TD PARTS LIST
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Item
FHE Part Code
Description
Qty
Remark
1

[image: ]
Cabinet Assembly
1

2

F.300.004.248HC-005
Ducting Board Bracket B
1

3*

M.200.002.SDQ-SAD12038B12L-02/2
Evaporator Fan DC 12V 0.27A SAD12038B12L
2

4

F.203.001.330HA-001
Fan Board
1

5

T.403.005.338FA-001
Evaporator Fan Cover
2

6

M.5L1.003.330HA-029
Dc Motor Connection Cable
1

7

F.300.004.208HC-013-B
Support for Air Duct Board（Left）
1

8

F.300.004.208HC-014-B
Support for Air Duct Board（Right）
1

9

F.300.003.330HC-017
Ducting Board
1

10

F.300.002.208HC-014-B
Support Panel for K-support
2

11*

N.15B.002.330HA-008
Evaporator
1

12

T.202.001B.208HC-334-02
Support Panel for K-support
12

13

LG-1000E-17-New
New Smaller Shelf K Clip T.204.002.1000WBA-007
24

14*

LG330H-43
Left/Right Shelf 345mm X 400mm P.107.208H-001
4

15

LG330H-50
Middle Shelf 345mm X 445mm P.107.330H-001
2

16

C.03.002X.208HC-015-HZ
Middle Pole Assembly
2

17

F.103.004.208HA-007
Support Panel for Middle Pole Assembly
4

18

DZ.501.003.330HA-1268-03
Lamp Cover 
1



Item
FHE Part Code
Description
Qty
Remark
19*

M.305.004.1100-2835-30-01-B-SM
LED Light
1

20*

LG-208HC-46-TLH
Top Door Hinge(left) T.402.003.208HA-032L-HZ
2

21

DM.706.005.228FA-001-H
Door Shaft Sleeve
6

22*

DM.60R.330HC-005-H
Door Gasket
3

23*

C.02.006.330HC-030BL-H-AA
Left Door Assembly
2

24*

LG-208HC-LK
Lock & key T.402.001.208HA-001
3

25*

C.02.006.330HC-030BR-H-AA-092
Right Door Assembly
1

26*

LG138H-41
Top Right Door Hinge T.402.003.208HA-032R-HZ
1

27*

LG-330HC-DH
Door Handle (Metal) T.402.002.208HA-001-H
3

28*

LG138H-41A
Door Hinge Bottom Right Hand T.402.003.208HA-031-HD
1

29

T.402.007.330HA-002
Iron Support Fastener
3

30*

LG-208HC-46-BLH
Door Hinge Bottom Left Hand T.402.003.208HA-030-HD
2

31

T.403.010.330HA-006
The Nut Plate for the Door Hinge
1

32

F.207.001.330HA-041-HZ
Front Grill
1

33

T.403.010.208HA-011
Strength metal for ventilation cover
1

34

DZ.708.008.208HA-007
Protective Cover
1

35*

M.302.001.208HA-003
Power switch (Red)
1

36*

LG138H-3
Light Switch (Green) M.302.001.208HA-004
1



Item
FHE Part Code
Description
Qty
Remark
37*

ECS-16 Temp Controller
Digital Thermostat
1

38

DZ.708.008.208HA-005-H
LED Display Controller Cover
1

39

DZ.708.008.208HA-006-H
Temperature Gauge Board Assembly
1

40

M.401.002.ECS-16-2500
Temperature Probe Wire
1

41

M.5L2.001.360FA-009
Connect Wire for Compressor
1

42

M.5L2.003.330HA-059
Connect Wire for Digital Thermostat
1

43

F.201.001.330HA-013
Compressor Supporter
1

44*

PZ99H1X
Compressor R600a M.10P.PZ99H1X
1

45

DZ.708.010.1000WBA-004-H
Dry Filter Clip
1

46

LG-208HC-2
Dry Filter N.101.228FA-001
1

47

DZ.708.003.660WA-001
Water Tray
1

48

N.300.002.208HA-009
Venting Tube
1

49

LG-330HC-Cond
Condenser N.20C.330HA-007
1

50

T.403.003.208HA-003
Condenser Bracket
1

51

T.403.005.660WA-002
Fan Blade
1

52*

M.200.001.208HA-009/2
Condenser Motor
1

53

N.300.004.138HC-001
Evaporator Pipe
1

54

N.300.003.208HA-001
Process Pipeline
1

 

*Wearable parts
Item
FHE Part Code
Description
Qty
Remark
55

T.403.006.330HA-001
Plate Support Frame
1

56
Version 1
F.202.001.208HA-008
Electronic Supporting Plate
1


Version 2
F.202.001.208HA-013
Electronic Supporting Plate
1

57

DZ.708.005.660WA-001/2
Connecting Box
1

58*

M.405.001.HS-EVS-A120150N-A0C-W1
12V Power Supply(18W)
1

59

LG208H-Legs
Adjustable Leg DZ.708.004.208HA-002-H
4

60

F.208.001.330HA-013
Rear Panel
1

61

T.203.001.001
Cable Grommet
1

62

M.600.E3-075-2200-H-W12
Power Cord 10A 0.75mm² 2200mm L Pin Terminal
1

63

M.5L2.228FA-001
Compressor Grounding Wire
1

64

T.211.003.208HA-003-H
Inner Cabinet Drain Pipe
1

65

DZ.708.004.BJ9A-001-H
Space feet from wall
2

66*

M.408.248HC-HT125-10-L8-B3
Filter
1

67

DZ.708.010.660WA-004
Power Cord Clip
1

68*

M.405.001.D150WA-002
Electrical Heating Door Power Supply
1

69

T.403.010.D150WA-001
Electrical Door Heating Power Supply Fixing Bracket
1
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