| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 1 |  | SUF1500-TSSP-X | Top Stainless Steel Panel XY Version | 1 |  |
| 2 |  | SUF1500-LD-X | Left Door Assembly | 1 |  |
| 3 |  | SUF1500-RD-X | Right Door Assembly | 2 |  |
| 4 |  | SUF1500-KSS | K-type Seal Strip | 12 |  |
| 5 |  | SUF600-20 | K-type Clip | 36 |  |
| 6* |  | SUF10A4.00-01 | Wire Shelf 530mm X 530mm | 6 |  |
| 7* |  | SUF1500-WS | Wire Shelf 615mm X 530mm | 3 |  |
| 8* |  | SUC1000-TLDH-X | Top Left Door Hinge | 1 |  |
| 9* |  | SUC1000-TRDH-X | Top Right Door Hinge | 2 |  |
| 10* |  | SUC1000-BLDH-X | Bottom Left Door Hinge | 1 |  |
| 11* |  | SUC1000-BRDH-X | Bottom Right Door Hinge | 2 |  |
| 12 |  | SUF1500-LEB | Left Evaporator Baffle | 1 |  |
| 13* |  | SUF1500-Condenser | Condenser | 1 |  |
| 14* |  | NT2192GK | Compressor | 1 |  |
| 15 |  | SUF1500-PC | Power Cord | 1 |  |
| 16 |  | SUF1500-LCP | Lower Cover Plate | 1 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 17 |  | SUF1500-PEIC | PE Insulation Cotton | 1 |  |
| 18 |  | SUF1500-REB | Right Evaporator Baffle | 1 |  |
| 19* |  | SUC1500-Evap-X | Evaporator | 1 |  |
| 20* |  | SUF1000-41 | Defrost Heating Tube | 1 |  |
| 21* |  | GG120FA-X-2 | Evaporator Fan Motor 70W | 2 |  |
| 23 |  | SUF1500-EFC | Evaporator Fan Cover | 1 |  |
| 24 |  | SUF1500-DP | Drain Pile | 1 |  |
| 25 |  | SUF10A4.00-11 | Water Tray For Evaporator | 1 |  |
| 26 |  |  | Cabinet Body | 1 |  |
| 27 |  | SUF1000-NC-X | Normal Castor | 2 |  |
| 28 |  | SUF1000-BC-X | Brake Castor | 2 |  |
|  |  | SUF1500-DG-X | Door Gasket |  |  |
|  |  | Drier-1 | DRIER LIQUID LINE DML032S 1/4 SOLDER |  |  |
|  |  | SUC-SUF-TCK | Touch Controller Kit for all SLIS machines |  |  |
|  |  | SUF1000-PH | Pan/Drain Heater |  |  |
|  |  | SUF1500-CFM | Condenser Fan Cover |  |  |

*Wearable parts