| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 1 |  | SUC1000-TSSP-X | Front Cover Plate Assembly | 1 |  |
| 2 |  | SUC1000-Hinge | Hinge | 2 |  |
| 3 |  | SUC1000-ULD | Upper Left Door | 1 |  |
| 4 |  | SUC1000-URD | Upper Right Door | 1 |  |
| 5 |  | SUC1000-LLD | Lower Left Door | 1 |  |
| 6 |  | SUC1000-LRD | Lower Right Door | 1 |  |
| 7-1* |  | SUC1000-BLDH-X | Left Spring Hinge Base | 1 |  |
| 7-2* |  | SUC1000-TRDH-X | Top Right Door Hinge | 1 |  |
| 8-1* |  | SUC1000-BRDH-X | Right Spring Hinge Base | 1 |  |
| 8-2* |  | SUC1000-TLDH-X | Top Left Door Hinge | 1 |  |
| 9* |  | SUC1000-MLDH-X | Left Middle Hinge Assembly | 1 |  |
| 10* |  | SUC1000-MRDH-X | Right Middle Hinge Assembly | 1 |  |
| 11 |  | SUC1000-KSS | K-type Seal Strip | 8 |  |
| 12 |  | SUF600-20 | K-type Clip | 24 |  |
| 13* |  | SUF10A4.00-01 | Wire Shelf 530mm X 530mm | 6 |  |
| 14 |  | SUC1000-CB | Cabinet Body | 1 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 15* |  | SUF1000-27 | Condenser | 1 |  |
| 16 |  | SUC1000-CFB | Condenser Fan Blade | 1 |  |
| 17 |  | SUC1000-CFG | Condenser Fan Guard | 1 |  |
| 18* |  | SUF1200-39 | Condenser Fan Motor YZF34-45 34/120W | 1 |  |
| 19* |  | FFI12HBK | Compressor R134A | 1 |  |
| 20 |  | SUC1000-PC | Power Cord | 1 |  |
| 21 |  | SUC1000-UCP | Upper Cover Plate | 1 |  |
| 22 |  | SUC1000-LCP | Lower Cover Plate | 1 |  |
| 23 |  | SUC1000-TEF | Top Edge Frame | 1 |  |
| 24 |  | SUC1000-PEIC | PE Insulation Cotton | 1 |  |
| 25* |  | SUF1000-40 | Evaporator 5R6K680L | 1 |  |
| 26 |  | SUC1000-LEB | Left Evaporator Baffle | 1 |  |
| 27 |  | SUC1000-REB | Right Evaporator Baffle | 1 |  |
| 29 |  | SUC1000-EFMA | Evaporator Fan Motor Assembly | 2 |  |
| 31 |  | SUC1000-EFC | Evaporator Fan Cover | 1 |  |
| 32 |  | SUF10A4.00-11 | Water Tray For Evaporator | 1 |  |

*Wearable parts

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 33-1 |  | SUF1000-BC-X | Brake Castor | 1 |  |
| 33-2 |  | SUF1000-NC-X | Normal Castor |  |  |
|  |  | SUC-SUF-TCK | Touch Controller Kit for all SLIS machines |  |  |
|  |  | SUF1000-41 | Defrost Heating Tube |  |  |
|  |  | SUC1000-DG-X | Door Gasket 690mm by 540mm |  |  |
|  |  | SUC1000-LLT | LED Light Transformer KC-08 |  |  |
|  |  | Drier-1 | DRIER LIQUID LINE DML032S 1/4 SOLDER |  |  |
|  |  | SUF1000-PH | Pan/Drain Heater |  |  |