LG-330HC EXPLODED DIAGRAM

LG-330HC PARTS LIST
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Item
FHE Part Code
Description
Qty
Remark
1

[image: ]
Cabinet Assembly
1

2

F.300.004.248HC-005
Ducting Board Bracket B
1

3*

M.200.002.SDQ-SAD12038B12L-02/2
Evaporator Fan DC 12V 0.27A SAD12038B12L
2

4

F.203.001.330HA-001
Fan Board
1

5

T.403.005.338FA-001
Evaporator Fan Cover
2

6

M.5L1.003.330HA-029
Dc Motor Connection Cable
1

7
Version 1
F.300.004.208HC-001-B
Support for air duct board
1
Interchangeable

Version 2
F.300.004.208HC-013-B
Support for Air Duct Board（Left）
1
Interchangeable
8
Version 1
F.300.004.208HC-002-B
Support for air duct board
1
Interchangeable

Version 2
F.300.004.208HC-014-B
Support for Air Duct Board（Right）
1
Interchangeable
9
Version 1
F.300.003.330HC-006
Ducting Board
1
Interchangeable

Version 2
F.300.003.330HC-017
Ducting Board
1
Interchangeable
10
Version 1
F.300.002.208HC-006-B
Support Panel for K-support
2
Interchangeable

Version 2
F.300.002.208HC-014-B
Support Panel for K-support
2
Interchangeable
11*
Version 1
LG-330HC-Evap
Evaporator N.15B.002.330HA-003
1
Interchangeable

Version 2
N.15B.002.330HA-008
Evaporator
1
Interchangeable
12

T.202.001B.208HC-334-02
Support Panel for K-support
12

13

LG-1000E-17-New
New Smaller Shelf K Clip T.204.002.1000WBA-007
24



Item
FHE Part Code
Description
Qty
Remark
14*

LG330H-43
Left/Right Shelf 345mm X 400mm P.107.208H-001
4

15

LG330H-50
Middle Shelf 345mm X 445mm P.107.330H-001
2

16
Version 1
C.03.002X.208HC-002A-HZ
Middle Pole Assembly
2
Non-Interchangeable

Version 2
C.03.002X.208HC-011-HZ
Middle Pole Assembly
2
Non-Interchangeable
17
Version 1
F.103.004.208HA-005
Support Panel for Middle Pole Assembly
4
Interchangeable

Version 2
F.103.004.208HA-007
Support Panel for Middle Pole Assembly
4
Interchangeable
18

DZ.501.003.330HA-1268-03
Lamp Cover 
1

19*
Version 1
LG330H-32
Light 14W (T5) 563 mm L 14W 6500K
1
Non-Interchangeable

Version 2
LG-330HC-Light
Light M.305.004.1100-2835-30-01-B-EL
1
Interchangeable

Version 3
M.305.004.1100-2835-30-01-B-SM
LED Light
1
Interchangeable
20*
Version 1
LG-208HC-46-TLH
Top Door Hinge(left) T.402.003.208HA-032L-HZ
2
Interchangeable

Version 2
T.402.003.208HA-032L-HD
Top Door Hinge(left)
2
Interchangeable
21

DM.706.005.228FA-001-H
Door Shaft Sleeve
6

22*
Version 1
LG330H-48
Door Gasket 420mm X 715mm DM.60H.330HC-005-H
3
Interchangeable

Version 2
DM.60R.330HC-005-H
Door Gasket
3
Interchangeable
23*
Version 1
LG-330HC-LD
Left Door 751mm X 442 mm C.02.006.330HC-019L-H
2
Interchangeable Before 20250318001

Version 2
C.02.006.330HC-035L-H
Left Glass Door with LOW E Outside
2
Interchangeable After 20250318001
24*

LG-208HC-LK
Lock & key T.402.001.208HA-001
3



Item
FHE Part Code
Description
Qty
Remark
25*
Version 1
LG-330HC-RD
Right Door 751mm X 442 mm C.02.006.330HC-019R-H
1
Interchangeable Before 20250113001

Version 2
C.02.006.330HC-035R-H
Right Glass Door with LOW E Outside
1
Interchangeable After 20250113001
26*
Version 1
LG138H-41
Top Right Door Hinge T.402.003.208HA-032R-HZ
1
Interchangeable

Version 2
T.402.003.208HA-032R-HD
Top Right Door Hinge
1
Interchangeable
27*
Version 1
LG138H-45
Door Handle (Plastic)
3
SN From 20140912001 to 20170825010

Version 2
LG-330HC-DH
Door Handle (Metal) T.402.002.208HA-001-H
3
SN From 20170911001
28*

LG138H-41A
Door Hinge Bottom Right Hand T.402.003.208HA-031-HD
1

29

T.402.007.330HA-002
Iron Support Fastener
3

30*

LG-208HC-46-BLH
Door Hinge Bottom Left Hand T.402.003.208HA-030-HD
2

31

T.403.010.330HA-006
The Nut Plate for the Door Hinge
1

32
Version 1
F.207.001.330HA-011-HZ
Front Grill
1
Interchangeable

Version 2
F.207.001.330HA-041-HZ
Front Grill
1
Interchangeable
33

T.403.010.208HA-011
Strength metal for ventilation cover
1

34

DZ.708.008.208HA-007
Protective Cover
1

35*

M.302.001.208HA-003
Power switch (Red)
1

36*

LG138H-3
Light Switch (Green) M.302.001.208HA-004
1

37*
Version 1
LG138H-18
Digital Thermostat Carel RCBHS1H0E1K
1
SN From 20140912001 to 20210730012

Version 2
M.401.002.ECS-16-01
Digital Thermostat
1
SN From 20210901001
 

Item
FHE Part Code
Description
Qty
Remark
38

DZ.708.008.208HA-005-H
LED Display Controller Cover
1

39

DZ.708.008.208HA-006-H
Temperature Gauge Board Assembly
1

40

M.401.002.ECS-16-2500
Temperature Probe Wire
1

41

M.5L2.001.360FA-009
Connect Wire for Compressor
1

42

M.5L2.003.330HA-059
Connect Wire for Digital Thermostat
1

43

F.201.001.330HA-013
Compressor Supporter
1

44*
Version 1
EMT75HLP
Compressor R134a
1
SN From 20140912001 to 20210121002

Version 2
PZ99H1X
Compressor R600a M.10P.PZ99H1X
1
SN From 20210301001
45

DZ.708.010.1000WBA-004-H
Dry Filter Clip
1

46

LG-208HC-2
Dry Filter N.101.228FA-001
1

47

DZ.708.003.660WA-001
Water Tray
1

48

N.300.002.208HA-009
Venting Tube
1

49

LG-330HC-Cond
Condenser N.20C.330HA-007
1

50

T.403.003.208HA-003
Condenser Bracket
1

51

T.403.005.660WA-002
Fan Blade
1

52*

M.200.001.208HA-009/2
Condenser Motor
1

53

N.300.004.138HC-001
Evaporator Pipe
1



*Wearable parts
Item
FHE Part Code
Description
Qty
Remark
54
Version 1
N.300.228FA-005
Process Pipeline
1
Interchangeable

Version 2
N.300.003.208HA-001
Process Pipeline
1
Interchangeable
55

T.403.006.330HA-001
Plate Support Frame
1

56

F.202.001.208HA-008
Electronic Supporting Plate
1

57

DZ.708.005.660WA-001/2
Connecting Box
1

58*

M.405.001.HS-EVS-A120150N-A0C-W1
12V Power Supply(18W)
1

59

LG208H-Legs
Adjustable Leg DZ.708.004.208HA-002-H
4

60
Version 1
F.208.001.330HA-001
Rear Panel
1
Interchangeable

Version 2
F.208.001.330HA-013
Rear Panel
1
Interchangeable
61

T.203.001.001
Cable Grommet
1

62

M.600.E3-075-2200-H
Power Cord 10A 0.75mm² 2200mm L Fork Terminal
1

63

DZ.708.004.BJ9A-001-H
Space feet from wall
2
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