| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  | Cabinet | 1 |  |
| 2 |  | F.203.001.208HA-001 | Fan Board | 1 |  |
| 3* |  | M.200.002.SDQ-SAD12038B12L-02/2 | Evaporator Fan DC 12V 0.27A SAD12038B12L | 2 |  |
| 4 |  | M.5L1.003.138HA-029 | Connective Wire | 1 |  |
| 5 |  | T.403.005.338FA-001 | Fan Cover | 1 |  |
| 6 |  | F.300.004.208HC-013-B | Left Ducting Bracket | 1 |  |
| 7 |  | F.300.004.208HC-014-B | Right Ducting Bracket | 1 |  |
| 8* |  | N.15B.002.138HA-008 | Evaporator | 1 |  |
| 9 |  | F.300.003.138HC-017 | Ducting Panel | 1 |  |
| 10* |  | P.107.138H-001 | Shelf | 2 |  |
| 11 |  | LG-1000E-17-New | New Smaller Shelf K Clip T.204.002.1000WBA-007 | 8 |  |
| 12 |  | T.202.001B.208HB-350-02 | K Strip | 4 |  |
| 13* |  | M.305.004.400-2835-30-01-B-SM(G) | LED Light 12V 2.9W White 400mm L | 1 |  |
| 14 |  | DZ.501.003.138HA-518-03 | Light Cover | 1 |  |
| 15* |  | DM.60R.138HC-005-H | Door Gasket | 1 |  |
| 16* |  | LG138H-42 | Glass Door 750mm X 597mm C.02.006.138HC-039-H | 1 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 17* |  | LG138H-41 | Top Right Door Hinge T.402.003.208HA-032R-HZ | 1 |  |
| 18 |  | DM.706.005.228FA-001-H | Door Shaft Sleeve | 2 |  |
| 19* |  | LG-208HC-LK | Lock and Key T.402.001.208HA-001 | 1 |  |
| 20* |  | LG-330HC-DH | Door Handle (Metal) T.402.002.208HA-001-H | 1 |  |
| 21* |  | LG138H-41A | Bottom Right Door Hinge T.402.003.208HA-031-HD | 1 |  |
| 22 |  | T.402.007.330HA-002 | Iron Support Fastener | 1 |  |
| 23 |  | F.207.001.138HA-041R-HZ | Front Bottom Panel | 1 |  |
| 24 |  | DZ.708.008.208HA-007 | Protective Cover | 1 |  |
| 25* |  | M.302.001.208HA-003 | Power switch (Red) | 1 |  |
| 26* |  | LG138H-3 | Light Switch (Green) M.302.001.208HA-004 | 1 |  |
| 27* |  | ECS-16 Temp Controller | Digital Thermostat | 1 |  |
| 28 |  | DZ.708.008.208HA-005-H | LED Display Controller Cover | 1 |  |
| 29* |  | DZ.708.008.208HA-006-H | Temperature Gauge Board Assembly | 1 |  |
| 30* |  | M.401.002.ECS-16-2500 | Sensor | 1 |  |
| 31 |  | M.5L2.003.138HA-050 | Compressor Bundle | 1 |  |
| 32 |  | M.5L2.003.138HA-059 | Connect Wire for Digital Thermostat | 1 |  |
| 33 |  | T.403.010.208HA-011 | Strength metal for ventilation cover | 1 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 34 |  | F.201.001.138HA-011 | Compressor Supporter | 1 |  |
| 35 |  | DZ.708.003.138HA-001-H | Water tray | 1 | Same as LG138H-12 |
| 36 |  | N.300.002.138HA-006 | Venting Tube | 1 |  |
| 37 |  | DZ.708.010.1000WBA-004-H | Dryer Clip | 1 |  |
| 38 |  | LG-208HC-2 | Dry Filter N.101.228FA-001 | 1 |  |
| 39* |  | EKZ80L | Compressor M.10F.EKZ80L R600a | 1 |  |
| 40* |  | LG138H-6 | Condenser N.20C.138HA-010 | 1 |  |
| 41 |  | N.300.003.208HA-001 | Evaporator Pipe | 1 |  |
| 42 |  | N.300.004.138HC-001 | Return Pipe | 1 |  |
| 43 |  | F.202.001.208HA-013 | Electronic Supporting Plate | 1 |  |
| 44 |  | DZ.708.005.660WA-001/2 | Connecting Box | 1 |  |
| 45* |  | LG-208SC-LT | LED Transformer RKPO-XX121000 110-240VAC 12VDC 1000mA M.405.001.HS-EVS-A120100N-A0B-W1 | 1 | For Internal Light, Evaporator Fan |
| 46* |  | LG-208SC-LT | LED Transformer RKPO-XX121000 110-240VAC 12VDC 1000mA M.405.001.HS-EVS-A120100N-A0B-W2 | 1 | For Condenser Fan |
| 47 |  | LG208H-Legs | Adjustable Leg DZ.708.004.208HA-002-H | 4 |  |
| 48 |  | F.208.001.138HA-013 | Rear Cover | 1 |  |
| 49 |  | T.203.001.001 | Wire Grommet | 1 |  |

*Wearable parts

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 50 |  | M.600.E3-075-2200-H-W11 | Power Cord 10A 0.75mm² 2200mm Butt Splice Terminal | 1 |  |
| 51 |  | F.300.008.138HA-006 | Fan Assembly Panel | 1 |  |
| 52 |  | M.5L2.228FA-001 | Compressor Grounding Wire | 2 |  |
| 53 |  | T.211.003.208HA-003-H | Inner Cabinet Drain Pipe | 1 |  |
| 54 |  | DZ.708.004.BJ9A-001-H | Space Feet From Wall | 1 |  |
| 55* |  | M.408.148HC-YB22D1-6A-W | Filter | 1 |  |
| 56 |  | DZ.708.010.660WA-004 | Power Cord Clip | 1 |  |
| 57* |  | M.405.001.D90WA-002 | Electrical Heating Door Power Supply | 1 |  |
| 58 |  | T.403.010.330HA-001 | Electrical Door Heating Power Supply Fixing Bracket | 1 |  |