GAN-1800RF3 Part List 


DC-122Q PARTS LIST 

GAN-1800RF3 EXPLODED DIAGRAM 
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Item
FHE Part Code
Description
Qty
Remark
1*

GAN-1800RF3-HGSD
Hollow Glass Sliding Door
1

2

GAN-1800RF3-DF
Door Frame
1

3

GAN-1800RF3-CSP
Column Side Plate
1

4

GAN-1800RF3-DFBB
Bottom Bar of Door Frame
1

5

GAN-1800RF3-SP
Switch Panel
1

6

GAN-1800RF3-Ladder
Ladder
1

7

GAN-1800RF3-Support
Support
3

8

GAN-1800RF3-SBHB
Shelf Back Horizontal Bar
2

9

GAN-1800RF3-LC
Lamp Shade (aluminum alloy)
2

10

GAN-1800RF3-LEC
Lampshade End Cap (PVC)
2

11*

GAN-1800RF3-SPG
Side Panel Glass
1

12

GAN-1800RF3-FFSP
Foam Frame Side Panel
1

13

GAN-1800RF3-FFSSP
Foam Frame Side Sealing Plate
1

14

GAN-1800RF3-FFOBP
Foam Frame Outside Base Plate
1

15

GAN-1500RF2-Castor
Castor/Wheel
4

16

GAN-1800RF3-BFSP
Bottom Frame Support Plate
2

17

GAN-1800RF3-CONSP
Condenser Support Plate
1

18

GAN-1800RF3-COMSP
Compressor Support Plate
3

19*
Version 1
SC12CNX.2
Compressor R290
1
SN From ZNZLY20201225GN1800RF3039
to ZNZL20231223GAN1800RF3017

Version 2
NUK120NA
Compressor R290
1
SN From ZNZL20240821GAN1800RF3037
20

GAN-1800RF3-WB
Water Box (PVC)
1

21*

GAN-1800RF3-COND
Condenser
1

22

GAN-1800RF3-LA
Liner Assembly
1

23

GAN-1800RF3-FMF
Foam Mouth Frame
1

24

GAN-1800RF3-AO
Air Outlet
1

25

GAN-1800RF3-RAO
Return Air Opening
1

26

GAN-1800RF3-BP
Bottom Plate
2

27*

GAN-1800RF3-RG
Roof Glass
1



*Wearable parts
Item
FHE Part Code
Description
Qty
Remark
28*

GAN-1800RF3-FG
Front Glass 1775mm X 830mm
1

29

GAN-1800RF3-FFFP
Foam Frame Front Plate
1

30

GAN-1800RF3-GBF
Glass Bottom Frame (PVC)
1

31

GAN-1800RF3-FFFSP
Foam Frame Front Sealing Plate
1

32*

GAN-1800RF-Evap
Evaporator 4 X 4 X 1410
1

33

GAN-1800RF3-FB
Fan Board
1

34*

GAN-1800RF3-EF
Evaporating Fan
2



GAN-1800RF3-BTGS
Black Top Glass Shelf 248mm X 850mm
　



GAN-1800RF3-CRBP
Compressor Side Rear Bottom Panel
　



GAN-1800RF3-LRSD
Left Rear Sliding Door (Staff View) 840mm X 730mm H
　



GAN-1800RF3-RRSD
Right Rear Sliding Door (Staff View) 840mm X 730mm H
　



GAN-1800RF3-RSD
Rear Sliding Door Suit Unit Received On or After 18-12-2023
　



GAN-1800RF3-TG
Top Glass Suit GAN-1800RF3
　



GAN-1800RF-Light
LED Light SET/ ( 2PCS PER SET)
　



GAN-1500RF3-HT
Heater Transformer
　



GAN-1800RF2-BBGS
Black Bottom Glass Shelf 348mm X 850mm




GAN-1800RF2-BTGS
Black Top Glass Shelf 298mm X 850mm Same As GAN-1800RF3 Middle Shelf




GAN-RF3-TCRBP
Temp Controller Side Rear Bottom Panel




GN-RF-CC
Controller Cover




GAN-BDT
Bottom Door Track 2 Meters Cut To Size




GAN-CPS
Chrome Plated Strip 1.8m




GAN-DFBS
Door Frame Brush Seal




GAN-FGRS
Front Glass Rubber Seal Suit GAN Series Sold By Meter




GAN-TC
Carel Temperature Controller PJEZS1E0H




GAN-TCHA
Temp Controller Housing Assembly Includes Housing and 3 Switches




GAN-TDT
Top Door Track 2 Meters Cut To Size Same As Side Door Track
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