| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 1* |  | GAN-1800RF3-HGSD | Hollow Glass Sliding Door | 1 |  |
| 2 |  | GAN-1800RF3-DF | Door Frame | 1 |  |
| 3 |  | GAN-1800RF3-CSP | Column Side Plate | 1 |  |
| 4 |  | GAN-1800RF3-DFBB | Bottom Bar of Door Frame | 1 |  |
| 5 |  | GAN-1800RF3-SP | Switch Panel | 1 |  |
| 6 |  | GAN-1800RF3-Ladder | Ladder | 1 |  |
| 7 |  | GAN-1800RF3-Support | Support | 3 |  |
| 8 |  | GAN-1800RF3-SBHB | Shelf Back Horizontal Bar | 2 |  |
| 9 |  | GAN-1800RF3-LC | Lamp Shade (aluminum alloy) | 2 |  |
| 10 |  | GAN-1800RF3-LEC | Lampshade End Cap (PVC) | 2 |  |
| 11* |  | GAN-1800RF3-SPG | Side Panel Glass | 1 |  |
| 12 |  | GAN-1800RF3-FFSP | Foam Frame Side Panel | 1 |  |
| 13 |  | GAN-1800RF3-FFSSP | Foam Frame Side Sealing Plate | 1 |  |
| 14 |  | GAN-1800RF3-FFOBP | Foam Frame Outside Base Plate | 1 |  |
| 15 |  | GAN-1500RF2-Castor | Castor/Wheel | 4 |  |
| 16 |  | GAN-1800RF3-BFSP | Bottom Frame Support Plate | 2 |  |
| 17 |  | GAN-1800RF3-CONSP | Condenser Support Plate | 1 |  |
| 18 |  | GAN-1800RF3-COMSP | Compressor Support Plate | 3 |  |
| 19* | Version 1 | SC12CNX.2 | Compressor R290 | 1 | SN From ZNZLY20201225GN1800RF3039 to ZNZL20231223GAN1800RF3017 |
|  | Version 2 | NUK120NA | Compressor R290 | 1 | SN From ZNZL20240821GAN1800RF3037 |
| 20 |  | GAN-1800RF3-WB | Water Box (PVC) | 1 |  |
| 21* |  | GAN-1800RF3-COND | Condenser | 1 |  |
| 22 |  | GAN-1800RF3-LA | Liner Assembly | 1 |  |
| 23 |  | GAN-1800RF3-FMF | Foam Mouth Frame | 1 |  |
| 24 |  | GAN-1800RF3-AO | Air Outlet | 1 |  |
| 25 |  | GAN-1800RF3-RAO | Return Air Opening | 1 |  |
| 26 |  | GAN-1800RF3-BP | Bottom Plate | 2 |  |
| 27* |  | GAN-1800RF3-RG | Roof Glass | 1 |  |

*Wearable parts

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 28* |  | GAN-1800RF3-FG | Front Glass 1775mm X 830mm | 1 |  |
| 29 |  | GAN-1800RF3-FFFP | Foam Frame Front Plate | 1 |  |
| 30 |  | GAN-1800RF3-GBF | Glass Bottom Frame (PVC) | 1 |  |
| 31 |  | GAN-1800RF3-FFFSP | Foam Frame Front Sealing Plate | 1 |  |
| 32* |  | GAN-1800RF-Evap | Evaporator 4 X 4 X 1410 | 1 |  |
| 33 |  | GAN-1800RF3-FB | Fan Board | 1 |  |
| 34* |  | GAN-1800RF3-EF | Evaporating Fan | 2 |  |
|  |  | GAN-1800RF3-BTGS | Black Top Glass Shelf 248mm X 850mm |  |  |
|  |  | GAN-1800RF3-CRBP | Compressor Side Rear Bottom Panel |  |  |
|  |  | GAN-1800RF3-LRSD | Left Rear Sliding Door (Staff View) 840mm X 730mm H |  |  |
|  |  | GAN-1800RF3-RRSD | Right Rear Sliding Door (Staff View) 840mm X 730mm H |  |  |
|  |  | GAN-1800RF3-RSD | Rear Sliding Door Suit Unit Received On or After 18-12-2023 |  |  |
|  |  | GAN-1800RF3-TG | Top Glass Suit GAN-1800RF3 |  |  |
|  |  | GAN-1800RF-Light | LED Light SET/ ( 2PCS PER SET) |  |  |
|  |  | GAN-1500RF3-HT | Heater Transformer |  |  |
|  |  | GAN-1800RF2-BBGS | Black Bottom Glass Shelf 348mm X 850mm |  |  |
|  |  | GAN-1800RF2-BTGS | Black Top Glass Shelf 298mm X 850mm Same As GAN-1800RF3 Middle Shelf |  |  |
|  |  | GAN-RF3-TCRBP | Temp Controller Side Rear Bottom Panel |  |  |
|  |  | GN-RF-CC | Controller Cover |  |  |
|  |  | GAN-BDT | Bottom Door Track 2 Meters Cut To Size |  |  |
|  |  | GAN-CPS | Chrome Plated Strip 1.8m |  |  |
|  |  | GAN-DFBS | Door Frame Brush Seal |  |  |
|  |  | GAN-FGRS | Front Glass Rubber Seal Suit GAN Series Sold By Meter |  |  |
|  |  | GAN-TC | Carel Temperature Controller PJEZS1E0H |  |  |
|  |  | GAN-TCHA | Temp Controller Housing Assembly Includes Housing and 3 Switches |  |  |
|  |  | GAN-TDT | Top Door Track 2 Meters Cut To Size Same As Side Door Track |  |  |