LG-330SC EXPLODED DIAGRAM

LG-330SC PARTS LIST
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Item
FHE Part Code
Description
Qty
Remark
1

[image: ]
Cabinet Assembly
1

2

F.300.004.248HC-005
Ducting Board Bracket B
1

3*

M.200.002.SDQ-SAD12038B12L-02/2
Evaporator Fan DC 12V 0.27A SAD12038B12L
2

4

F.203.001.330HA-001
Fan Board
1

5

T.403.005.338FA-001
Evaporator Fan Cover
2

6

M.5L1.003.330HA-029
Dc Motor Connection Cable
1

7
Version 1
F.300.004.208HC-001-B
Support for air duct board
1
Interchangeable

Version 2
F.300.004.208HC-013-B
Support for Air Duct Board（Left）
1
Interchangeable
8
Version 1
F.300.004.208HC-002-B
Support for air duct board
1
Interchangeable

Version 2
F.300.004.208HC-014-B
Support for Air Duct Board（Right）
1
Interchangeable
9
Version 1
F.300.003.330HC-006
Ducting Board
1
Interchangeable

Version 2
F.300.003.330HC-017
Ducting Board
1
Interchangeable
10
Version 1
F.300.002.208HC-006-B
Support Panel for K-support
2
Interchangeable

Version 2
F.300.002.208HC-014-B
Support Panel for K-support
2
Interchangeable
11*
Version 1
LG-330HC-Evap
Evaporator N.15B.002.330HA-003
1
Interchangeable

Version 2
N.15B.002.330HA-008
Evaporator
1
Interchangeable
12

T.202.001B.208HC-334-02
Support Panel for K-support
12

13

LG-1000E-17-New
New Smaller Shelf K Clip T.204.002.1000WBA-007
24



Item
FHE Part Code
Description
Qty
Remark
14*
Version 1
P.107.002.208HA-008
Left/Right shelf
4
Interchangeable

Version 2
LG330H-43
Left/Right Shelf 345mm X 400mm P.107.208H-001
4
Interchangeable
15*
Version 1
P.107.002.330HA-008
Middle shelf
2
Interchangeable

Version 2
LG330H-50
Middle Shelf 345mm X 445mm P.107.330H-001
2
Interchangeable
16
Version 1
C.03.002X.208HC-002A-HZ
Middle Pole Assembly
2
Non-Interchangeable

Version 2
C.03.002X.208HC-011-HZ
Middle Pole Assembly
2
Non-Interchangeable
17
Version 1
F.103.004.208HA-005
Support Panel for Middle Pole Assembly
4
Interchangeable

Version 2
F.103.004.208HA-007
Support Panel for Middle Pole Assembly
4
Interchangeable
18*
Version 1
LG-330HC-Light
Light M.305.004.1100-2835-30-01-B-EL
1
Interchangeable

Version 2
M.305.004.1100-2835-30-01-B-SM
LED Light
1
Interchangeable
19

DZ.501.003.330HA-1268-03
Lamp Cover 
1

20

C.07.330SC-001-H
Sliding Door Track Assembly
1

21

DZ.708.010.330SA-002
Sliding Door Buffer Stopper
2

22

DZ.708.001.208SC-710-H
Sliding Door Frame Groove Seal
3

23

T.402.008.208SB-001-B
Counterweight Block
3

25*

T.207.004.208SC-001
Sliding Door Guide Roller
3

26*

DM.706.003.MT-5*10-H
5×10 Wool Pile Weatherstrip
6

27*

DM.706.003.MT-5*5-H
5×5 Wool Pile Weatherstrip
6



Item
FHE Part Code
Description
Qty
Remark
28*
Version 1
C.02.005.330SC-01LA-H-FB
Left Glass Door
1
Interchangeable

Version 2
C.02.006.330SC-05L-H-FB
Left Glass Door
1
Interchangeable
29

T.205.005
Nylon Rope
3

30

F.300.001.330SA-002-H
Sliding Door Limit Plate
1

31*
Version 1
C.02.005.330SC-01MA-H-FB
Middle Door Assembly
1
Interchangeable

Version 2
C.02.006.330SC-05M-H-FB
Middle Glass Door
1
Interchangeable
32

T.402.001.208SA-001
Key & Lock
2

33*
Version 1
C.02.005.330SC-01RA-H-FB
Right Door Assembly
1
Interchangeable

Version 2
C.02.006.330SC-05R-H-FB
Right Glass Door
1
Interchangeable
34

E.402.208S-003
Door Bottom Sliding Wheel
6

35

F.300.001.330SA-001
Guide Rail
2

36
Version 1
F.207.001.330SA-006-HZ
Front panel
1
Interchangeable

Version 2
F.207.001.330SA-015-HZ
Front panel
1
Interchangeable
37

T.403.010.208HA-011
Strength metal for ventilation cover
1

38

DZ.708.008.208HA-007
Protective Cover
1

39*

M.302.001.208HA-003
Power switch (Red)
1

40*

LG138H-3
Light Switch (Green) M.302.001.208HA-004
1

 

Item
FHE Part Code
Description
Qty
Remark
41*
Version 1
LG138H-18
Digital Thermostat Carel RCBHS1H0E1K
1
SN From 20151203001 to 20210730007

Version 2
ECS-16 Temp Controller
Digital Thermostat
1
SN From 20210901001
42

DZ.708.008.208HA-005-H
LED Display Controller Cover
1

43

DZ.708.008.208HA-006-H
Temperature Gauge Board Assembly
1

44

M.401.002.ECS-16-2500
Temperature Probe Wire
1

45

M.5L2.003.330HA-059
Connect Wire for Digital Thermostat
1

46

M.5L2.001.360FA-009
Connect Wire for Compressor
1

47

F.201.001.330HA-013
Compressor Supporter
1

48*
Version 1
EMT75HLP
Compressor R134a
1
SN From 20151203001 to 20210121010

Version 2
PZ99H1X
Compressor R600a M.10P.PZ99H1X
1
SN From 20210301001
49

DZ.708.010.1000WBA-004-H
Dry Filter Clip
1

50

LG-208HC-2
Dry Filter N.101.228FA-001
1

51

DZ.708.003.660WA-001
Water Tray
1

52

N.300.002.208HA-009
Venting Tube
1

53*

N.20C.330HA-007
Condenser


54

LG208H-8
Condenser fan supporter T.403.003.208HA-003


55

T.403.005.660WA-002
Fan blade




*Wearable parts
Item
FHE Part Code
Description
Qty
Remark
56*

M.200.001.208HA-009/2
Condenser Motor
1

57

N.300.004.138HC-001
Evaporator Pipe
1

58
Version 1
N.300.228FA-005
Process Pipeline
1
Interchangeable

Version 2
N.300.003.208HA-001
Process Pipeline
1
Interchangeable
59

T.403.006.330HA-001
Plate Support Frame
1

60

F.202.001.208HA-008
Electronic Supporting Plate
1

61

LG208H-17
Connecting Box DZ.708.005.660WA-001/2
1

62*

M.405.001.HS-EVS-A120150N-A0C-W1
12V Power Supply(18W)
1

63

LG208H-Legs
Adjustable Leg Dz.708.004.208ha-002-H
4

64
Version 1
F.208.001.330HA-001
Rear Panel
1
Interchangeable

Version 2
F.208.001.330HA-013
Rear Panel
1
Interchangeable
65

T.203.001.001
Cable Grommet
1

66

M.600.E3-075-2200-H
Power Cord 10A 0.75mm² 2200mm L Fork Terminal
1

67

M.5L2.228FA-001
Compressor Ground Wire
1

68

T.211.003.208HA-003-H
Inner Tank Drain Pipe
1

69

DZ.708.004.BJ9A-001-H
Space Feet From Wall
1
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