| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 1* |  | SUC-SUF-TCK | Touch Controller Kit | 1 |  |
| 2 |  | SUC/SUF-Key | Key & Lock Assembly | 1 |  |
| 3* |  | SUCG500-FS | Fan Switch | 1 |  |
| 4 |  | SUCG500-TP | Top Panel | 1 |  |
| 5 |  | SUCG500-TCPP | Temperature Control Protection Panel | 1 |  |
| 6* |  | SUCG1000-RD-X | Right Glass Door | 1 |  |
| 7* |  | SUCG1500-TRDH-X | Top Door Hinge | 1 |  |
| 8* |  | SUCG1500-BRDH-X | Bottom Door Hinge | 1 |  |
| 9 |  | SUCG500-KSS | K-type Seal Strip | 4 |  |
| 10 |  | SUF600-20 | Shelf K Clip | 12 |  |
| 11* |  | SUFG500-2 | Wire Shelf 480mm X 530mm | 3 |  |
| 12* |  | SUFG500-LL-3000K | LED Light 3000K | 2 |  |
| 13 |  | SUFG1000-20 | LED Light Strip | 2 |  |
| 16* |  | SUCG500-TCH | Top Cover Hinge | 1 |  |
| 17 |  | SUCG500-LEB | Left Evaporator Baffle | 1 |  |
| 18* |  | SUF500-23 | Condenser 3R10K320L | 1 |  |

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
| 19* |  | NEU2168GK | Compressor R404a | 1 |  |
| 20 |  | SUCG500-PC | Power Cord | 2 |  |
| 21 |  | SUCG500-LCP | Lower Cover Plate | 1 |  |
| 22 |  | SUCG500-REB | Right Evaporator Baffle | 1 |  |
| 23 |  | SUCG500-PIC | PE Insulation Cotton | 1 |  |
| 24* |  | SUF500-35 | Evaporator 5R6K320L | 1 |  |
| 25* |  | SUF500-HGD | Hot Gas Defrost Heater/Heating Element | 1 |  |
| 26* |  | SUCG500-EFMA | Evaporator Fan Motor Assembly | 1 |  |
| 28 |  | SUCG500-EFC | Evaporator Fan Cover | 4 |  |
| 29 |  | SUCG500-DP | Drain Pipe | 12 |  |
| 30 |  | SUCG500-EWT | Water Tray For Evaporator | 3 |  |
| 31 |  |  | Cabinet Body | 1 |  |
| 32 |  | SUF1000-NC-X | Normal Castor | 4 |  |
|  |  | SUF1000-BC-X | Brake Castor |  |  |
|  |  | SUF1000-PH | Pan/Drain Heater |  |  |
|  |  | Drier-1 | DRIER LIQUID LINE DML032S 1/4 SOLDER |  |  |

*Wearable parts

| Item |  | FHE Part Code | Description | Qty | Remark |
| --- | --- | --- | --- | --- | --- |
|  |  | SUCG1000-DG-X | Door Gasket |  |  |
|  |  | FAN-23 | Square EBM Style 34W Universal RF516A |  |  |
|  |  | SUFG500-DHT-X | Door Heater Transformer |  |  |
|  |  | SUFG500-PLK | Plastic Lock Keeper Suit SUFG500 |  |  |